June 16, 2026

TO:	Bidders on IFB No. 26039AD

FROM:	City of Dayton, Ohio

Division of Procurement

SUBJECT:  	Addendum #1 for above IFB 26039AD

This addendum is to announce and serve as official notice that there are changes to the City of Dayton OH’s Invitation for Bid (IFB) No. 26039AD Electrical Equipment Troubleshooting and Repair Services.

Following are the questions with answers for this IFB.  Please consider this document in preparation of your bid response.  In the answers to the questions the City of Dayton shall be noted as “City”. To ensure the integrity of the bid/proposal process, a signed copy of this bid/proposal addendum notice shall be included with your company’s response to this document.

____________________________		___________

(Print Name)			     		 (Date)

___________________________                  ___________________________________

(Signature)					(Company Name)

Sincerely,

Austin Dickison

Buyer

CITY OF DAYTON

INVITATION FOR BID (IFB) NO. 26039AD

ADDENDUM #1

Electrical Equipment Troubleshooting and Repair Services (Only)

June 2026

- What Items will be priced on the Bid Tab

Answer: The labor rates numbered 1-5 on Part II of the bid will be listed on the Bid tab and reviewed for award.

- Is there an Emergency rate being priced

Answer: An Emergency labor rate is being requested in the bid pricing

- Do Local, SBE, WBE, MBE receive price preference

Answer: Local or Pep Certified Vendors (SBE, WBE, MBE) will receive a 5% price preference when reviewing the IFB submissions. Local and PEP Certified Vendors will receive a 10% price preference. PEP certification must be with the City of Dayton HRC, other PEP certifications will not transfer or be considered. Dayton local is considered only within the City limits of Dayton, Ohio and is verified through the County Auditors website.

- Who does your testing

Answer: Our current awarded vendor with an established Price Agreement through IFB 25023AD Electrical Equipment Testing is LND Testing Services.

- Are you looking for replacement services

Answer: No, generally not. A Bid is currently in place for Electrical Parts, Supplies and Related Items (IFB #24010N).

- Does AES own or service any equipment

Answer: Nothing which is listed in the bid. AES has some equipment in our system but does its own service and repair.

- Are battery systems a part of the bid

Answer: No battery systems are not a part of this bid.

- Have you had a recent flash study done

Answer: Yes, all our primary equipment has had an Arc Flash Study.  Yes, some parts have been recently updated due to change and other unchanged portions are being updated.  All primary equipment is tested on a three-year basis.   Arc Flash Studies are not part of this work to be bid.

- What kind of system is used in the pump building sub/transfer stations.

Answer: It is a Leman Engineering and Consulting product.

- How much budget is being set aside for these services

Answer: There is no budget specifically set aside at this time for these services. A signed Purchase Order will establish the budget being set aside for these services that could potentially be used but is not guaranteed that the full amount will be spent in a year. If future spending authority is authorized through the City Commission, then a better idea of possible budget for future years can be determined but only if the amount requested in more than $50,000.00.

- What is the expected working window for this solicitation? (Normal working hours, after-hours, weekends, etc.)

Answer: The expected working window would be normal working hours, after-hours, and weekends.    Time outside normal working hours would be reserved for holiday and emergency type services.

- Is the journeyman certification for electricians a disqualifying requirement? Can it be waived under this contract?

Answer: Besides a Journeyman license we would also accept a NETA certification. Onsite we would require a NETA certified person or a licensed Journeyman. They can be performing the work or onsite supervising the work.

- Is the 2-hour emergency response a disqualifying requirement? Can it be waived under this contract?

Answer: No waiver. We want to know your response time.  If it is not 2 hours state your response time as it is.

- In IFB Part II, under the Offsite General Repair Cost box, please clarify what is meant by “minimum time charge.”

Answer: What is your charge for a visit to a facility minimum.  If you arrive at a facility during regular working hours and work for 30 minutes to resolve an issue, what do you charge? Is the minimum one hour, two hours?   What is the travel to and from charge? This would be minus materials.

- Given the contract duration of 1 base year and 3 option years, what is the expected troubleshooting & repair service window for each site in each contract year?

Answer: This is for repair and troubleshooting and it requires what is needed. So, it will vary.

We operate 24/7, 365 days a year.  Some sites may require these services, some may not in each contract year.

- In IFB Part II, under the Hourly Rate box, please clarify the intent of the question: “When does an hourly rate change begin? At the arrival of the jobsite?”

Answer: Are you charging an hourly rate when you are gathering equipment and driving to the site or do you have a set charge for travel to and from a site then start an hourly rate on arrival at the work site.

- Can the City provide the previously awarded bid information for a similar IFB, including the awarded price per year and bidder information?

Answer: No, the only previously awarded bids were for maintenance and testing for a set list of equipment with set requirements. There are no previous IFBs for repair and troubleshooting.

- Can the “60-mile radius” requirement for the repair scope be waived?

Answer: No waiver.  If you exceed the 60-mile radius we require that you give your distance from your facility to our facilities.

- IFB Part I states that “no maintenance and/or testing services are required.” However, IFB Part II, under the repairs section, appears to require testing services for all listed devices. Please confirm whether any testing services are required under this contract.

Answer: Testing services are not a part of this bid, as there is a separate price agreement for testing. A new updated version of IFB #26039AD Part II will be released alongside this addendum and should be submitted with the corrected language.

- In IFB Part II, under the Materials Cost box, please confirm whether “Material Cost – Bidder Cost plus % = Cost to the City of Dayton” and “Material and Repair Parts – Bidder Cost plus % = Cost to the City of Dayton” both refer to the percentage markup on material costs.

Answer: Yes, it is the same.

- What technical standards do you require for troubleshooting services?

Answer: ANSI/NETA ATS-2025 and ANSI/NETA MTS-2023.

- What technical standards do you require for repair services?

Answer: NFPA 70E, ANSI/NETA ATS-2025, and ANSI/NETA MTS-2023.