## Sheet1
VENDOR NAME
VENDOR SAM UEI
MODEL NAME
1.1. CHARACTERISTICS: | LINE ITEM DESCRIPTION | Place of manufacturer or installer/trainer name | MFG Part number, If applicable | Vendor description | Vendor agrees/vendor provide notes | LINE ITEM Qty | Price | TOTAL
1.1. Technically equivalent to a Complete Robotic Brain Surgery System and no remote access software for ENT, cranial, and spinal neurology surgical procedures with sterilizable accessories and VASAAS/VA TRM compliant software. | ROBOTIC NEUROLOGY SURGICAL EQUIPMENT & SOFTWARE SOLUTION COMPLETE SYSTEM VA TRM COMPLIANT/NO REMOTE ACCESS SOLUTION HIGH PERFORMANCE SYSTEM FOR PASSIVE, OPTICAL NAVIGATION INCLUDING A MOBILE TOUCH DISPLAY CART AND A SEPARATE INFRARED CAMERA WHEELED CART FOR FLEXIBLE POSITIONING IN THE O.R. LARGE 32" HD SCREEN. SEE SOW FOR TECHNICAL REQUIREMENT |  |  |  |  | 1
1.2. Must have an alignment software updates compliant with VA TRM, VA SAAS, DICOM. | VA TRM AUTHORIZED ORIGIN DATA MANAGEMENT SUBSCRIPTION. |  |  |  |  | 12
1.3. Indicated use for Neurosurgical and ENT Procedures. | VA TRM AUTHORIZEDXXXXXVIEWER 3D SUBSCRIPTION. |  |  |  |  | 12
1.4. An image-guided high-performance Brain Surgery System used for neurocranial and ENT surgery. | VA TRM AUTHORIZED XXXXXIMAGE FUSION SUBSCRIPTION. |  |  |  |  | 12
1.5. includes mobile wheeled touch display cart. | VA TRM AUTHORIZEDXXXXXSMARTBRUSH SUBSCRIPTION. |  |  |  |  | 12
1.6. includes infrared camera cart for flexible positioning during surgery. | VA TRM AUTHORIZED XXXXXVIEWER SMART LAYOUT CRANIAL. |  |  |  |  | 12
1.7. includes Touch screen at least 32” for easy control and clear visualization. | VA TRM AUTHORIZED XXXXXSEGMENTATION CRANIAL SUBSCRIPTION. |  |  |  |  | 12
1.8. includes 4k resolution or better for clear visualization. | VA TRM AUTHORIZED XXXXXDISTORTION CORRECTION CRANIAL. |  |  |  |  | 12
1.9. display drape. | VA TRM AUTHORIZED XXXXXTRAJECTORY PLANNING CRANIAL. |  |  |  |  | 12
1.10. includes integrated laser pointer. | SOFTWARE CRANIAL- EXTENSION REGISTRATION SUBSCRIPTION. |  |  |  |  | 12
1.11. includes non invasive battery-powered, quick, touchless, and markerless patient registration wireless laser pointer designed for in cranial navigation. | SOFTWARE CRANIAL-EXTENSION SURFACE MATCHING REGISTRATION SUBSCRIPTION. |  |  |  |  | 12
1.12. for quick and accurate patient registration without fiducials softouch laser registration pointer (w/ Gauge) battery powered wireless | INSTRUMENT SETUP SOFTWARE CRANIAL/ENT SUBSCRIPTION. |  |  |  |  | 12
1.13. includes storage box for registration accessories. | REGISTRATION SOFTWARE SURGACE MATCHING CRANIAL/ENT SUBSCRIPTION. |  |  |  |  | 12
1.14. includes navigation pointer for image-guided neuro- and ENT surgery (with blunt tip and corresponding gauge for storage in sterilization tray). | VARIOGUIDE/ COMPATIABLE ALIGNMENT SOFTWARE CRANIAL SUBSCRIPTION. |  |  |  |  | 12
1.15. includes safe storage tray and efficient steam sterilization (autoclaving) of Standard Cranial Accessories. | VA TRM AUTHORIZED SOFTWARE ENT SUBSCRIPTION 26535A. |  |  |  |  | 12
1.16. includes safe storage tray and efficient steam sterilization (autoclaving) of Standard ENT/CMF Accessories. | VA TRM AUTHORIZED SOFTWRE EXISTING MICROSCOPE SUBSCRIPTION. |  |  |  |  | 12
1.17. includes secure storage box for unsterile cranial accessories. | VA TRM AUTHORIZED SOFTWARE EXISTING MICROSCOPE-EXTENSION HEAD-UP DISPLAY SUBSCRIPTION. |  |  |  |  | 12
1.18. OIT VA TRM compliant data management software compatible with Optum, VISTA and Cerner that has an easy and intuitive user interface for streamlined access to patient data and applications. | VA TRM AUTHORIZED SOFTWARE EXISTING MICROSCOPE - EXTENSION AUGMENTED REALITY SUBSCRIPTION. |  |  |  |  | 12
1.19. includes image viewing, manipulation and data enrichment software specifically developed for surgeons. | MICROSCOPE ADAPTER AND TRACKING ARRAY FOR EXISTING (ZEISS OPMI PENTERO 900). |  |  |  |  | 1
1.20. includes image fusion capabilities to exploit all anatomical & functional data sets simultaneously. Also, with distortion correction possibilities for cranial MR data sets. | Z-TOUCH LASER REGISTRATION POINTER. |  |  |  |  | 1
1.21. includes intuitive and interactive 3D contouring tool for outlining of pathologies and anatomical structures in medical images. | SOFTOUCH REGISTRATION POINTER. |  |  |  |  | 1
1.22. fuses real-time neuronavigation with structural and functional anatomical mapping for specific smart views dynamically tailor visualization layouts to specific cranial procedures. This ensures critical eloquent areas, vasculature, and tumor boundaries are intuitively tracked and displayed during critical surgical maneuvers | GUAGE FOR SOFTOUCH REGISTRATION POINTER. |  |  |  |  | 1
1.23. includes indication-specific smart views software platform for spinal indications exploiting anatomical information from anatomical mapping. | STORAGE BOX REGISTRATION ACCESSORIES CRANIAL/ENT. |  |  |  |  | 1
1.24. includes cranial planning software that automates the segmentation of anatomical brain structures, fibertracking, and BOLD MRI mapping specifically for neurosurgery automatic segmentation of anatomical brain structures on MR and CT- data sets. | POINTER CRANIAL/ENT (WITH GUAGE). |  |  |  |  | 2
1.25. includes Software platform to map complex paths by integrating target deep-brain structures with patient-specific vascular and functional maps for multiple trajectories for neurosurgical approaches. | PATIENT REFERENCE ARRAY CRANIAL. |  |  |  |  | 4
1.26. includes software spatial mapping is a primary requirement for frameless stereotaxy and surgical navigation to ensure the pinpoint accuracy necessary in neurosurgery for cranial patient data registration. | STERILIZATION TRAY ACCESSORIES CRANIAL (1 OF 2). |  |  |  |  | 2
1.27. includes software platform surgical instrument integration with diameter, length and instrument trajectory using instrument adapters (S, M, L, XL clamps and M, ML, L, XL arrays) and Instrument Calibration Matrix. Control instruments through pre- or user-defined Inline and first person Eye navigation views with target tissue. | PATIENT REFERENCE ATTACHMENT ARM. |  |  |  |  | 2
1.28. includes hardware component in computer-assisted surgery and neuronavigation systems Instrument Calibration Matrix Device for instant intraoperative calibration of length, diameter and vector of a rigid instrument. | STORAGE BOX UNSTERILE ACCESSORIES CRANIAL. |  |  |  |  | 2
1.29. includes real-time views of both unique patient anatomy and surgical instrument positions visualization of patient data and instrument software shapes in 3D for comprising overviews and improved spatial orientation. | VARIOGUIDE/ COMPATIABLE ALIGNMENT SYSTEM. |  |  |  |  | 2
1.30. includes microscope navigation software for the integration of compatible surgical microscopes and robotic visualization systems for existing microscope intergration | STERILIZATION TRAY VARIOGUIDE/COMPATIABLE ALIGNMENT SYSTEM. |  |  |  |  | 2
1.31. includes a head-up display, also known as a HUD or head-up guidance system (HGS), is any transparent display that presents data without requiring users to look away | T-ADAPTER HEAD HOLDER (MAYFIELD/COMPATIABLE) |  |  |  |  | 2
1.32. includes augmented reality outlines into ocular for visualization of planned structures injected | INSTRUMENT CALIBRATION MATRIX. |  |  |  |  | 2
1.33. includes augmented reality video overlay on navigation screen for visualization of injected outlines | INSTRUMENT INTEGRATION ACCESSORY PACKAGE(2 SIZES). |  |  |  |  | 2
1.34. includes software for 3D Displayed brain structures include anatomical objects, fiber tracts, trajectories and points. | INSTRUMENT ADAPTER CLAMP (CYLINDRICAL/COMPATIABLE INSTRUMENTS). |  |  |  |  | 2
1.35. includes software tools - Probe's Eye View: Displays the patient's MRI or CT scans as if you are looking directly from the center of the surgical microscope's focal point. It helps align the optical axis of the microscope with the target anatomy in real-time.Augmented Outlines: Overlays 2D or 3D computer-generated contours (such as tumor borders or critical nerves) onto the live microscope video. This provides "X-ray" vision, letting surgeons operate safely without constantly having to look away at external navigation screens. | INSTRUMENT ADAPTER EM FOR DISPOSABLE STYLET. |  |  |  |  | 2
1.36. includes Ergonomic remote control of navigation functionality via microscope handle. | INSTRUMENT ADAPTER CLAMP (BLAKESLEY & RECTANGULAR INSTRUMENTS) OR compatiable. |  |  |  |  | 2
1.37. includes Live Overlays: Projects 3D arrows, floating pins, and paths directly onto the road or sidewalk in front of you through your device's camera.Visual Positioning System (VPS): Utilizes computer vision and artificial intelligence to scan nearby buildings and landmarks, providing highly accurate localization even in dense urban areas where GPS signals struggle.Real-Time Data Feeds: Continuously updates with live traffic conditions, construction zones, and road closures without requiring you to switch between applications.Point of Interest (POI) Tagging: Highlights nearby businesses, restaurants, and transit stops in real-time, displaying ratings and operational details as you scan the street.Enhanced Safety: Designed to prevent distraction by keeping your eyes on the road (or directly ahead) rather than forcing you to mentally translate a flat 2D map into physical space. | STERILIZATION TRAY ACCESSORIES ENT/CMF. |  |  |  |  | 2
1.37. includes microscope adapter with tracking array for navigation of existing surgical microscope. | PATIENT REFERENCE ARRAY ENT. |  |  |  |  | 4
1.38. Cranial reference arrays track a patient's exact 3D orientation in space for image-guided neurosurgery. The required array system includes both non-sterile components for initial patient registration and sterile components for intra-operative navigation | INSTRUMENT ADAPTER OFFSET 45". |  |  |  |  | 2
1.29.. includes Spare parts for combined use with a second patient reference array cranial with four marker spheres. | OEM QUALIFED INPERSON INSTRALLATION AND CONFIGURATION CONNECTED CARE AUTHORIZED VA TRM COMPLINAT SOLUTION |  |  |  |  | 1
1.40. includes four marker geometery spheres software tool to track location of the patient's head. | OEM QUALIFED INPERSON INSTALLATION ROBOTIC NUEROLOGY SURGICAL EQUIPMENT & SOFTWARE SOLUTION |  |  |  |  | 1
1.41 High-precision manufactured stainless steel. | INEPRSON QUALIFIED INTEGRATION AND VERIFICATION OF THIRD PARTY DEVICES (1 VISIT) |  |  |  |  | 1
1.42. Autoclavable design for easy sterilization. | INPERSON QUALFIED CLINICAL CONSULTATION CRANIAL ( 1 CASE) ON SITE. |  |  |  |  | 8
1.43. includes ENT Patient Reference Array for dynamic tracking of patient movement. | INPERSON QUALFIED CLINICAL CONSULTATION ENT ( 1 CASE) ON SITE. |  |  |  |  | 6
1.44. Single screw fixation on the reference headband. | INPERSON QUALIFIED USER TRAINING CRANIAL ( 1 DAY) ON-SITE. |  |  |  |  | 1
1.45. Integrated calibration points for instant instrument calibration. | INPERSON QUALIFIED USER TRAINING ENT (1 DAY) ONSITE. |  |  |  |  | 1
1.46. Precision manufactured stainless steel for high durability. | MICROSCOP INTERFACE CABLE 4.0 (ZEISS KINEVO 900/TIVATO 700). |  |  |  |  | 1
1.47. Wireless and autoclavable design for fast sterilization. | XXXXXVIEWER SMART LAYOUT SPINE SUBSCRIPTION. |  |  |  |  | 12
1.48.. Requires Reflective Marker Spheres for wireless navigation. | NAVIGATION SOFTWARE SPINE & TRAUMA 3D SUBSCRIPTION. |  |  |  |  | 12
1.49. Must have patient reference multi-articulated attachment arm. | REGISTRATION SOFWARE SPINE SUBSCRIPTION. |  |  |  |  | 12
1.50. includes compatible Mayfield/metal head holder and T-Adapter to be sterilizable. | REGISTRATION SOFTWARE - EXTENSION SURFACE MATCHING SPINE SUBSCRIPTION. |  |  |  |  | 12
1.51. ergonomic design and high-quality, corrosion-resistant steel HEX screwdriver T-handle 2.5 MM (x1) for additional tightening and loosening of instrument screws. | INSTRUMENT SETUP SOFTWARE SPINE SUBSCRIPTION. |  |  |  |  | 12
1.52. includes adapter to connect instruments such as the Disposable Stylet to the electro magnetic Interface Box. | AUTO-REGISTRATION SOFTWARE 3D C-ARM SPINE SUBSCRIPTION. |  |  |  |  | 12
1.53. includes instrument (Cylindrical) adapter clamps used in conjunction with an optical tracking geometry or an electromagnetic sensor; the instrument adapter clamp easily integrates surgical instruments into surgical navigation through attaching the clamp at a cylindrically shaped part of the instrument. Must: | AUTO-REGISTRATION HARDWARE FLUORO 3D FOR GEOEC, 3D. |  |  |  |  | 1
1.54. Support instrument diameters: 2.5mm - 7.0mm. | ACCESSORY PACKAGE SPINE BASIC. |  |  |  |  | 2
1.55. includes ergonomic design and high-quality, corrosion-resistant steel single-screw jaw fixation for attaching clamp to the instrument. | ACCESSORY PACKAGE SPINE FOR DRILLING. |  |  |  |  | 2
1.56. Standardize interface for attaching the tracking component to the clamp to be sterilizable. | ACCESSORY PACKAGE SPINE FOR OPEN SURGERY (AWLS & PROBES). |  |  |  |  | 2
1.57. includes atleast 30° angulation of tracking component to instrument axis for computer-assisted robotic surgery. | ACCESSORY PACKAGE SPINE FOR UNIVERSAL INSTRUMENT INTEGRATION. |  |  |  |  | 2
1.58. icludes Instrument Adapter EM and software platform allows the surgical instrument to be tracked in 3D space using electromagnetic (EM) navigation systems—procedures where line-of-sight optical tracking might be obstructed for electromagnetic navigation. | ACCESSORY PACKAGE SPINE FOR MINIMALLY INVASIVE SURGERY. |  |  |  |  | 2
1.59. includes interchangeable, various sized, sterilizable devices used in image-guided surgery to clamp onto standard surgical tools and feature highly reflective spheres for infrared optical cameras to track the precise position, orientation, and trajectory of the instrument in real-time. | AUTO-REGISTRATION HARDWARE FLUORO 3D FOR ZIEHM RFD 3D |  |  |  |  | 1
1.60. autoclavable design for fast sterilization. | INPERSON QUALIFIED INTEGRATION AND VERIFICATION OF THIRD PARTY DEVICES (1 VISIT) ONSITE. |  |  |  |  | 1
1.61. includes ergonomic design and high-quality, corrosion-resistant stee lwith an instrument adapter clamp used in conjunction with an optical tracking geometry or an electromagnetic sensor, the instrument adapter clamp easily integrates instruments such as forceps into surgical navigation. | INPERSON QUALIFIED CLINICAL CONSULTATION SPINE (1 CASE) ONSITE. |  |  |  |  | 8
1.62.. Adjustable fixation screw for attaching clamp to the instrument to be sterilizable. | IN PERSON QUALIFIED USER TRAINING SPIN & TRAUMA ( 1 DAY) ONSITE. |  |  |  |  | 1
1.63. Standardized interface for attaching the tracking component to the clamp to be sterilizable.
1.64. includes electromagnetic Instrument Adapter navigation. Reusable sterilizable standardized surgical accessory system used in electromagnetic image-guided procedures
1.65. intrument tracking Instrument Adapter Arrays: These attach to standard surgical tools ( pointers, suction devices, forceps, and etc... ) and are equipped with reflective marker spheres. Infrared cameras track these spheres in real-time, functioning similarly to a surgical GPS.Instrument Adapter Clamps/Interfaces: To accommodate instruments of varying shapes and widths, navigation systems use exchangeable adapter clamps. These allow the tracking array to be securely fitted to a wide assortment of existing tools, giving surgeons flexibility in the operating room
1.66. Autoclavable design for fast sterilization.
1.67. includes at least a 45-degree offset instrument adapter to provide an additional offset between adapter clamp / array & increases movement space if multiple instruments navigated:
1.68. includes software Flexible & erognoic array positioning on instrument free line of sight using alternate technologies
1.69. Offset mounted array allows free sight along instrument axis for 8 different adapter clamp-offset snap-in positions selectable.
1.69. Satellites instrument requiring no remote access to VA network or VA patient info alignment pin so VA service can manually secure dish/place dish.
1.70. Precision manufactured stainless steel for high durability.
1.71. Wireless and autoclavable design for fast sterilization "Full Digital Integration of easily overlay live ultrasound scans onto pre-operative CT/MRIs, allowing for immediate assessment of anatomical changes and deformation (brain shift) during complex cranial procedures.
1.72. includes IT integration including connection to DICOM, setup of DICOM Query Retrieve and DICOM PUSH, modality worklist and intraoperative modality integration, manual/automatic data saving to central archive, active directory integration.
1.73. Includes Microscope Interface 4.0 Cable for integration with existing robotic visualization system and advanced visualization system.
1.74. includes image-guided surgery software for Spine and Trauma navigation.
1.75. includes software of manual registration for Spine and Trauma navigation with manual surface-matching.
1.76. includes setup software for spine and trauma navigation.
1.77. includes software image auto registration with 3D C-Arms for Spine and Trauma navigation.
1.78. includes software authorized Registration Hardware Fluoro 3D for GE OEC 3D & ZIEHM RFD 3D.
1.79. spine accessory kit parts and software
1.80. includes software Registration and basic navigation with the pointer
1.81. includes spine accessory kit Drilling - use of pre-calibrated drill guide tools with adjustable depth control to navigate open thoracic, lumber, cervical, and sacral cases.
1.82. includes spine accessory kit Open surgery - software use of generic pre-calibrated awls and probes to navigate open thoracolumbar and sacral cases.
1.83. includes spine accessory kit Universal Instrument Integration sotware for registering third party instruments with manual calibration using modular instrument adapter clamps.
1.84. includes spine accessory kit minimally Invasive Surgery – enables reference array attachment with a 2-pin reference clamp and a minimally invasive pedicle access with the dedicated pedicle access needle for the insertion of Kirschner wires with diameters from 1.5 mm to 1.8 mm.
1.85. small-footprint ultrasound navigation into cranial procedures digitally fuse and overlay live ultrasound data with pre-operative MRI or CT scans directly in the surgeon's view.
TRAINING, IMPLEMENTATION, DEINSTALLATION, DELIVERABLES, DESTINATION DELIVERY, TRAINING, AND INSTALLATION - AUTHORIZED TO FULLY OEM INSTALL/SERVICE/MAINTENANCE/TRAIN/DEINSTALL
1.1 includes onsite visit for integration and verification of third-party devices including a complete verification of system accuracy and software and hardware functionality. It also covers necessary configuration, tests and quality assurance of intra-operative data transfer, video routing (inputs and outputs) and streaming and recording functionalities.
1.2 includes on-site qualified clinical support by a qualified and trained service staff member for one cranial treatment.
1.3 includes on-site qualified clinical support by a qualified and trained service staff member for one ENT treatment.
1.4 includes onsite qualified cranial application training for all members of clinical staff.
1.5 includes onsite qualified ENT application training for all members of clinical staff.
1.6. Onsite education and qualified OEM training by a vendor service trained representative will be provided to VAMHCS clinical staff within 10 days of installation.
1.7. Onsite education and OEM qualified training by a vendor service trained representative shall be provided to the VAMHCS Biomedical Engineer Shop, including the Biomedical Equipment Support Specialists (BESS) within 10 days of installation
1.8. Vendor is responsible to coordinate destination delivery, OEM installation, deinstallation, VA TRM compliant software, no remote access, and training with VA COR POC for a filly operational and fully installed equipment and software within one year of award.
1.9. Qualified vendor must deinstall existing equipment to warehouse for VA property manager disposal.
1.10. Qualified OEM installer required to certify validation hardware, software licenses, and software associated to the new system, and offered software item approved on OIT VA TRM network.
1.11. Installation Includes authorized DICOM, VA SAAS, and VA TRM compliance.
1.12. Delivered materials will arrive in manufacturer’s original sealed containers with the associated purchase order number listed on the outside of the box.
1.13. Upon installation, the contractor shall remove all related shipping debris and packing from the VAMHCS facilities.
1.14. Delivery and installation shall be completed between 7:00 a.m. and 3:30 p.m. Monday – Friday unless mutually agreed upon. All federal holidays are excluded.
1.15. Warranty begins upon accepted proof of service for fully operational and installed system.
1.16. Provide equipment manufacturers’ recommended maintenance schedules, user manual, and operation materials packaged with RFQ response. Manuals should be made available in an electronic format.
1.17. Authorized OEM Vendor is fully responsible for the equipment and software until fully installed and fully operational.
1.18. The authorized OEM vendor shall resolve any missing and damaged items found upon install and replaced at no cost to the Government for acceptance of fully install and operational system.
1.19. Contractor shall provide dates of completion of punch list items and replacement parts and/or short ship items from the manufacturer(s) for government acceptance
1.20. Authorized OEM vendor includes service, repairs, maintenance, software updates maintenance and repair for base year effective upon fully installed and operational.