# Video Surveillance & Access Control Systems – IT Security & Server Support

Facility: Alton Mental Health Center

This procurement combines IT security, server, and platform support services
for both the Video Surveillance System (VSS) and the Electronic Access Control System (ACS).
The scope, structure, and exclusions mirror the Building Automation System (BAS) IT Security
Service contract to ensure consistency across all critical facility systems.

## Purpose & Scope

This contract is strictly limited to IT-side support, cybersecurity, server and workstation
maintenance, software platform stability, and data protection. The vendor shall not provide
physical security device maintenance, installation, or field programming.

## Systems Covered

• Video Surveillance Management Software (VMS)
• Video recording servers and storage
• Security operator workstations
• Access Control System (ACS) servers and databases
• Credential and access management platforms
• Supporting operating systems and virtual environments

## Vendor Responsibilities

• Operating system and security patching
• Cybersecurity hardening per Illinois DoIT standards
• Endpoint protection and malware prevention
• Backup and disaster recovery testing
• User account and access management
• Monitoring and incident response

## Contract Exclusions

✘ Cameras, readers, door hardware, locks, or cabling
✘ Physical device installation or repair
✘ Field programming or configuration
✘ Construction or system expansion work

## Contract Term

One (1) year term FY27, 07/01/2026-06/30/2027.