## Price Sheet
Appendix B: Pricing Quote Sheet
Broadband Equity, Access and Deployment Next Generation Fixed Wireless Access Equipment Request for Quote (RFQ) BL2026_08
Revsied 06/15/26 redline
Description | Broadlinc Estimated Quantity | NOANet Estimated Quantity | Quoted Price Each (Fill Blue Cells only)
G2 Multiband (CBRS, 6 GHz) Base Node (BN) | 48 | 0
BN Base Node (BN) Pole Mounting Kit 60.33-127mm (2 3/8-5in) Pole Diameter | 48 | 128
Tower/Site Deployment Kit (includes but may not be limited to the below aggregate components) | 12 | 32
CAT6 jumper, Blue, RJ 45 Plug, OCTIS Power Plug, For Tarana G2 BN Programing, 10 Feet | 48 | 128
BN SFP+ Long Range Industrial Temp Duplex LC Connector Single Mode | 96 | 256
Outdoor Hybrid Fiber Jumper, 2 Fibers, Singlemode, 2x12 AWG Shielded, LC Uniboot to LC Duplex, OCTIS SFP/SFP+ OCTIS Power Connectors installed, SFP installed, Tarana, 5 Meters | 48 | 128
viaPhoton Outdoor Hybrid Enclosure | 12 | 32
viaPhoton Hybrid Trunk Cable (Power and Data) for 210 feet or less from surge protection device (SPD) to SPD; custom cut cables, 10 AWG power cable, Fxxx=feet from SPD to SPD (i.e. F200 = 200 feet) | 12 | 32
Power Module - 48VDC / 1000W | 24 | 64
15 Amp 60VDC Rated, Hydraulic/Mechanical Breaker | 48 | 128
DC Power Controller - Intelligent 2 RU Power Shelf with Single-Breaker Battery Management Module (--48V) | 12 | 32
IP Controlled High-Power DC Switch | 12 | 32
Cyclone Battery Pack | 24 | 64
Cyclone Battery quick connect cables | 12 | 32
Data Surge Protector SPD ALPU Outdoor Gigabit Ethernet/ PoE+ Shielded RJ45 GDT CE Compliant, EN/IEC 60950-1, UL 497B | 48 | 128
Smart-UPS 1000VA Rack Mount, LCD 120V with Smart Connect Port | 12 | 32
DC Defender (DC Surge Protector) w/Mounting Kit | 48 | 128
18RU 25.5" Wide x 23.6" Deep Outdoor Cabinet with 400W Air Conditioner and 500w Heater function NEMA 4X Rated | 12 | 32
Outdoor 5 port switch for OOB managemant ethernet connections | 12 | 32
G2 Multiband (CBRS, 6 GHz) Remote Node (RNm) PoE | 7000 | 0
RNm SMS Package - 1 year subscription | included in kit
RNm Speed-Unlock - Port Speed Perpetual Uncapped License Upgrade | included in kit
RNm Surge Protectors | included in kit
RNm PoE Injector power cord | included in kit
G1 CBRS 3.55-3.70 GHz, Base Node (BN), FCC/CBRS (Includes but may not be limited to the below aggregate components) | 0 | 128
70m Outdoor Single-Mode Fiber Optic Cable With Harting SFP to LC |  | included in kit
POWER SUPPLY,OUTDOOR AC-DC,90-264VAC IN, 54VDC OUT,480W |  | included in kit
10m Outdoor Shielded DC Power Cable With Harting Push-Pull Connector |  | included in kit
5m Outdoor Shielded Cat5e Ethernet Cable With Harting Push-Pull Connector |  | included in kit
G1 CBRS 3.6 GHz Residential Node (RN), FCC,POE | 0 | 1800
G1-Speed-Unlock BW License - DL Tput from 100 Mbps to Max |  | included in kit
G1 SMS Package - 1 year subscription |  | included in kit
RN Surge Protectors |  | included in kit
RN PoE Injector power cord |  | included in kit