Scope of Work

## RFP Title: Internal Network Security Monitoring Program

Date: June 19, 2026

GENERAL

The Lansing Board of Water & Light (BWL) is implementing the OT Security / OT Exposure components within the Tenable OT Security platform (formerly known as Tenable OT) as part of its Internal Network Security Monitoring (INSM) program. It is seeking proposals for the procurement of the Tenable OT Security platform and associated expert advisory services necessary to support BWL’s deployment, tuning, workflow development, and compliance documentation...

Board of Water and LIGHT BACKGROUND

The BWL was founded in 1885 and is the largest municipally owned electric utility in Michigan, as well as the third-largest electric utility in the state. It is governed by an eight-member Board of Commissioners appointed by the mayor and confirmed by the Lansing City Council. The BWL employs approximately 800 people.

The BWL owns and operates An electric system that generates, purchases, and distributes electric power and energy and provides electric service to approximately 100,000 residential, commercial, and industrial customers in the greater Lansing area; water wells, a raw water transmission system, water conditioning facilities, and an extensive water distribution system serving potable water to approximately 60,000 residential, commercial, and industrial customers in the greater Lansing area of which approximately 45,000 of these customers receive non-metered sewage services; steam generation boilers, a steam transmission and distribution system serving approximately 175 customers; chilled water facility and distribution piping system serving 10 customers in Lansing.

The BWL’s total operating revenue for Fiscal Year 2025 was $468,447,889.00.

Additional BWL background and information may be viewed at www.lbwl.com.

Specifications/SCOPE OF WORK

The purpose of this Request for Proposal is to obtain:

The complete Tenable OT Security solution, including all required software licenses, subscriptions, sensors, and Industrial Core Platform (ICP) components; and

Expert advisory services from qualified Tenable OT Security specialists to support BWL in planning, validating, tuning, and documenting the INSM deployment.

The Scope of Work (SOW) does not include hands-on engineering, network configuration, or on-site work. All physical installation, network configuration, SPAN/TAP setup, and server provisioning will be performed by the BWL.

Vendor-supplied Tenable OT Security Solution

Tenable OT Software & Licensing

The vendor shall provide:

Three (3) years of Tenable OT Security platform licensing, including all required modules and features.

Licensing for:

- Passive network monitoring

- Active Query

- Asset inventory

- Vulnerability detection

- Configuration integrity monitoring

- Behavioral anomaly detection

- API access

- SIEM, LDAP, and other supported integrations

Industrial Core Platform (ICP)

- The vendor shall supply one of the following ICP deployment options:

- Virtual ICP (OVA/ISO)

Physical ICP appliance

The vendor shall ensure the ICP is sized appropriately based on BWL’s estimated throughput.

Sensors

The vendor shall supply all Tenable OT sensors required for the INSM deployment.

Virtual Sensors

Provided for BWL’s two control centers, where virtualization infrastructure is available.

Hardware Sensors

Provided for substations and generation plants where virtualization is not available or environmental conditions require ruggedized hardware.

Estimated Sensor Quantities (for RFP Purposes)

- Control Centers: Two control centers, approximately 20 switches each; one virtual sensor per virtualization host, with SPAN ports from multiple switches aggregated to that host.

- Substations: Approximately 16 substations; one or more hardware sensors per site, depending on switch count.

- Generating Plants: Three generating plants; assume five hardware sensors per plant for pricing purposes.

Final sensor counts will be validated during planning.

Support & Maintenance

The vendor shall provide:

- Three (3) years of support and maintenance for the Tenable OT platform, ICP, and all sensors.

- Access to updates, patches, signatures, and threat intelligence.  Support shall be available 24 hours a day, 7 days a week, to ensure continuous INSM monitoring and rapid issue resolution.

- Access to Tenable University training resources.

Licensing Documentation

- The vendor shall provide:

- Licensing documentation

- Support entitlements

- Product activation details

- Bill of Materials (BOM)

- Version and compatibility requirements

- Confirmation that all licensing and support covers a three-year term

Advisory Services

The vendor shall provide one or two Tenable OT Security subject matter experts (SMEs) who will perform the following advisory functions:

Planning & Architecture Support

- Validate sensor counts and placement.

- Review site lists and switch lists.

- Provide best practices for sensor deployment.

- Assist in confirming ICP sizing.

Tuning & Optimization

- Guide BWL through baseline learning.

- Assist in tuning policies to reduce false positives.

- Provide recommendations for maintenance windows.

- Support tuning based on observed traffic patterns.

Workflow Development

- Assist BWL in developing workflows for:

- Alert triage

- Escalation

- Change management

- Incident response

- Compliance reporting

Compliance Documentation

- Assist BWL in creating documentation required for:

- NERC CIP-015

- Internal audit

- Operational procedures

- Evidence collection

Knowledge Transfer

Provide ongoing advisory support and best practices to ensure BWL staff can independently operate and maintain the Tenable OT Security platform.

Out of Scope Activities

The vendor shall not:

- Create or modify firewall rules

- Access or configure network devices

- Create or configure servers

- Reorganize or redesign BWL’s network

- Perform hands-on installation of sensors or ICP

- Work on-site

- Perform physical work in substations, plants, or control centers

- BWL will perform all hands-on technical work.

Proposed Team Requirements

The vendor shall propose the specific personnel assigned to this engagement. BWL requires named individuals, not placeholders.

Required Submittals

For each proposed team member, the vendor shall provide:

- Resume

- Years of experience with Tenable OT

- Years of OT/ICS cybersecurity experience

- Three (3) professional references

- Certifications and training

- Role and responsibilities

Minimum Qualifications

Each proposed SME must have:

- Proven hands-on experience with Tenable OT Security (or Tenable OT)

- Minimum five (5) years of OT/ICS cybersecurity experience

- Experience supporting utilities or critical infrastructure

- Experience with tuning, workflows, and compliance documentation

Personnel Substitution Restrictions

- No personnel substitutions without BWL approval.

- Personnel replacements must meet or exceed original qualifications.

BWL Environment Overview

OT Network Architecture

- Purdue Model–aligned OT network

- Two control centers (~20 switches each)

- Approximately 16 substations

- Three generating plants

- SPAN/TAP availability varies

- Logs are forwarded to Splunk

Operational Requirements

- Vendor works remotely

- Vendor follows BWL change management

- Physical access, if ever required, will be escorted

Vendor Responsibilities

The vendor shall:

- Supply all Tenable OT components

- Provide advisory services

- Produce documentation and deliverables

- Participate in planning and review meetings

- Provide knowledge transfer

- Maintain qualified personnel throughout the engagement

BWL Responsibilities

BWL shall:

- Deploy and configure sensors

- Configure SPAN/TAP ports

- Create and configure servers

- Manage firewall rules

- Provide access to Tenable OT systems

- Provide site and switch lists

- Provide protocol lists if needed for tuning

Deliverables

- Implementation planning support

- Sensor ingestion validation report

- Tuning recommendations and tuning plan

- Alert workflow documentation

- Compliance documentation templates

- Best practices guide

- Knowledge transfer sessions

Assumptions & Constraints

- Vendor works remotely

- Vendor does not perform hands-on configuration, except on Tenable OT Security systems if requested by BWL

- BWL performs all physical and configuration tasks

- BWL provides required access to Tenable OT systems

Project Schedule & Milestones

The vendor shall support BWL in meeting all schedule requirements associated with the INSM program and the NERC CIP 015 1 enforcement date of October 1, 2028. The schedule below defines the required timeline for delivery of the Tenable OT Security solution and the associated advisory services.

Required Milestones

Contract Award

Upon completion of the RFP evaluation and approval.

Delivery of Tenable OT Licensing and Components

- All Tenable OT Security licenses, ICP components, and sensors shall be delivered within 30 days of contract execution.

- Licensing shall cover a three (3) year term.

Initial Planning & Architecture Review

- Vendor shall participate in planning sessions within 15 days of delivery.

- Vendor shall validate sensor counts, ICP sizing, and deployment assumptions.

Server and Sensor Deployment Support (Advisory Only)

- Vendor shall provide advisory support during BWL’s deployment of centralized server(s) and sensors across all sites.

- Deployment is expected to occur over Months 1–6.

Baseline Learning & Burn-In Period

- Vendor shall support BWL through the Tenable OT baseline learning period.

- Burn-in/tuning period shall last 7–14 days per site.

- Vendor shall provide tuning recommendations and assist in reducing false positives.

Workflow & Compliance Documentation Development

- Vendor shall assist BWL in developing workflows and compliance documentation during Months 6–12.

NERC CIP 015 Compliance Readiness

Vendor shall support BWL in achieving full operational readiness no later than April 1, 2028.

Vendor shall assist BWL in preparing audit-ready documentation.

Ongoing Advisory Support

- Vendor shall provide advisory support throughout the three-year licensing term.

Acceptance Criteria

- All sensors are ingesting data as designed

- Baseline learning completed and tuned

- False positives minimized

- Workflows documented and approved

- Compliance documentation complete

- BWL staff can independently operate Tenable OT Security

Evaluation Criteria

The evaluation criteria will consider cost, specifications, and delivery timeframe.

END SCOPE OF WORK