Statement of Work

Scope:  The Comprehensive Industrial Hygiene Laboratory (CIHL) at the Navy Environmental and Preventive Medicine Unit (NEPMU) Two (2) service in the areas of industrial hygiene for the analysis of air, toxic propriety products and performance of toxicological testing to evaluate worker exposure to hazardous materials.   CIHL analyzes over 36,000 samples annually for different analytes using a variety of instrumentation such Ion Chromatography, Atomic Absorption Spectrometry-Graphite Furnace, High Performance Liquid Chromatography, and Gas Chromatography that utilize the noted goods.  The CIHL is located at:

Purpose: The lab uses contract labs to cover sample analysis that is outsourced based on the low sample volume or as a backup for coverage when instrumentation goes down.  Without having the backup the lab risks losing the samples due to the delays in fixing instrumentation.  Sample holding time varies drastically based on media type and sample type.

Requirements:  The lab requires the contracted lab to be accredited by the American Industrial Hygiene Association and ISO/IEC 17025:2017 for any test that the contract lab completes.  The contracted lab shall have to prove accreditation by providing certificates prior to being awarded the contract.  Any changes in the contracts lab certification must be communicated to CIHL in writing within five (5) days of the change.

- CIHL Norfolk is requesting a not to exceed contract of $30,000 per year, with the understanding that not all the $30,000 may be used during that year.

- The substances that may need to be analyzed with CAS numbers are listed within the statement of work under Appendix 1.  The lab may request a substance not on the list in addition at government pricing.  This is to cover tests not normally requested that may be needed.   The CIHL will check with the contract lab prior to sending testing not specified on the contract.

- Requesting CIHL will designate samples as “ROUTINE” or “Expedite.”  Turnaround times are calculated from the date of contractor’s receipt of sample to date of receipt of technically acceptable analysis results acceptance by the requesting CIHL.  Timeframes are identified below:

- Routine:  Ten (10) business days

- Expedite: Not to exceed five (5) days.  Expedited samples will be coordinated in advance

- The contract lab will not blank subtract any analysis completed.

- The contract lab may be asked to provide media for the tests that will be completed by the contract lab.  The contracted lab may invoice the government for the cost of media and or shipping.

Contract Length:  The contract agreement will be for a period of one year (12 months) and three (3) subsequent option years from the designated start date.

One Year:  September 23, 2026 – September 22, 2027

Option Year 1: September 23, 2027 – September 22, 2028

Option Year 2: September 23, 2028 – September 22, 2029

Option Year 3: September 23, 2030 – September 22, 2031

Contractor Responsibilities:  The contractor shall be responsible for analysis of all samples within the lab’s accreditation scope.  Any issues or mistakes by the contract lab will be reported in writing within 48 hours of the mistake, when the mistake involves the loss of sample or any changes in the results.  The following goods shall be provided at the CIHL locations identified in the scope.  Prices quoted will be based on fair market pricing and will not increase in cost of more than 5% annually.  All invoices will occur in WAWF and not be billed directly to the laboratories.

Appendix 1 – Below are the listed substances that may be requested; additional substances may need to be requested to be tested that are not listed.

| SUBSTANCE | CAS NO | METHOD or EQUIBALENT TO LISTED METHOD |
| --- | --- | --- |
| ACETIC ACID | 64-19-7 | NIOSH 1603 |
| ACIDS, INORGANIC (H2SO4) | 7664-93-9 | NIOSH 7903 OSHA ID-165SG OSHA-113 |
| ACIDS, INORGANIC (H3PO4) | 7664-38-2 | OSHA 113 OSHA ID-165 |
| ACIDS, INORGANIC (HBr) | 10035-10-6 | NIOSH 7903 OSHA ID-165SG |
| ACIDS, INORGANIC (HCl) | 7647-01-0 | NIOSH 7903 |
| ACIDS, INORGANIC (HF) | 7664-39-3 | NIOSH 7903 |
| ACIDS, INORGANIC (HNO3) | 7697-37-2 | NIOSH 7903 |
| ACRYLAMIDE | 79-06-1 | OSHA 21 |
| ACRYLONITRILE | 107-13-1 | NIOSH 1604 |
| AMMONIA | 7664-41-7 | OSHA 188 |
| BISPHENOL A | 80-05-7 | NIOSH 333 |
| CARBON BLACK | 1333-86-4 | NIOSH 5000 |
| CARBON DISULFIDE | 75-15-0 | NIOSH 1600 |
| CHLORINE | 7782-50-5 | NIOSH 6011 |
| CHLORPYRIFOS (Dursban) | 2921-88-2 | OSHA 62 |
| CHROMIUM and compounds as total Cr | 7440-47-3 | OSHA ID-206 NIOSH 7300 |
| CHROMIUM VI (Hexavalent Chromium, CrO3 ) | 18540-29-9 | OSHA ID-215 |
| CYANIDES, as CN | 57-12-5 | NIOSH 6010 |
| CYCLOHEXYLAMINE | 108-91-8 | OSHA PV2016 |
| DDVP (Dichlorovos) | 62-73-7 | OSHA 62 |
| DIAZINON | 333-41-5 | OSHA 62 |
| DIBUTYL PHTHALATE (DBP) | 84-74-2 | OSHA 104 |
| DIESEL EXHAUST Particulate/ORGANIC CARBON/ELEMENTAL CARBON |  | NIOSH 5040 |
| DIETHYLENE GLYCOL MONOBUTYL ETHER (BUTYL CARBITOL) | 112-34-5 | OSHA PV 2095 |
| DI-(2-ETHYL HEXYL) PHTHALATE (DEHP) | 117-81-7 | OSHA 104 |
| DIETHYL PHTHALATE (DEP) | 84-66-2 | OSHA 104 |
| DIMETHYL PHTHALATE (DMP) | 131-11-3 | OSHA 104 |
| DINITROTOLUENE, 2,4- | 121-14-2 | OSHA 44 |
| DIPROPYLENE GLYCOL METHYL ETHER | 34590-94-8 |  |
| DURSBAN (Chlorpyrifos) | 2921-88-2 | OSHA 62 |
| DUST (RESPIRABLE) |  | NIOSH 0600 |
| ELEMENTAL CARBON (Diesel Particulate) |  | See Diesel particulate |
| EPICHLOROHYDRIN | 106-89-8 | OSHA 7/NIOSH 1010 IN HOUSE METHOD |
| ETHANOLAMINE (Aminoethanol) | 141-43-5 | OSHA 60 |
| ETHYL ACRYLATE | 140-88-5 | OSHA 92/NIOSH1450 |
| ETHYL ETHOXY PROPIONATE | 763-69-9 | IN HOUSE |
| ETHYLENE GLYCOL | 107-21-1 | NIOSH 5523 |
| ETHYLENE GLYCOL DINITRATE (EGDN) | 628-96-6 | NIOSH 2507 |
| ETHYLENE GLYCOL MONOBUTYL ETHER ACETATE | 112-07-2 | OSHA 83 |
| ETHYLENE OXIDE (EtO) | 75-21-8 | NIOSH 1614 |
| ETHYLENE OXIDE (3M passive monitor) | 75-21-8 | 3M METHOD |
| Fluoride | 7782-41-4 | NIOSH 7906 |
| Freon |  | IN HOUSE |
| HEXAMETHYLENE DIISOCYANATE (HDI) | 822-06-0 | OSHA 42/47 PV2034 |
| HEXAMETHYLENE DIISOCYANATE (HDI Oligomers) | 28182-81-2 | OSHA 42/47 PV2034 |
| HEXAMETHYLENE DIISOCYANATE BIURET (HDIB) | 4035-89-6 | OSHA PV 2030 |
| HEXYLENE GLYCOL | 107-41-5 | NIOSH 1403 |
| HYDROGEN CYANIDE, as CN | 74-90-8 | NIOSH 6010 |
| HYDROGEN SULFIDE | 7783-06-4 | NIOSH 6013/OSHA ID 1008 |
| HYDROQUINONE | 123-31-9 | NIOSH 5004 |
| ISOPHORONE | 78-59-1 | NIOSH 2508 |
| ISOPHORONE DIISOCYANATE | 4098-71-9 | OSHA PV 2092 |
| MALATHION | 121-75-5 | OSHA 62 |
| MERCURY PARTICULATE as Hg | 7439-97-6 | OSHA ID 145 |
| MERCURY VAPOR as Hg | 7439-97-6 | NIOSH 6009 |
| METHYLENE BIS-CHLOROANILINE, 4,4',2- (MOCA) |  | OSHA 71 NIOSH 236 |
| METAL WORKING FLUID |  | NIOSH 0500/NIOSH 5524 |
| METHYLENE BISPHENYL ISOCYANATE, 4,4'- (MDI) | 101-68-8 | OSHA42/47/PV2034 |
| METHYL ISOBUTYL KETONE | 110-12-3 | NIOSH 2500 OSHA 84 |
| METHYLENE DIANILINE, 4,4'- | 101-77-9 | OSHA 57 |
| METHYL METHACRYLATE | 80-62-6 | OSHA 94 |
| METHYL-2-PYRROLIDINONE | 872-50-4 | NIOSH 1302 |
| NITROGEN DIOXIDE |  | NIOSH6014/OSHAID-182 |
| NITROGEN DIOXIDE / NITRIC OXIDE (NOX ) | 10102-43-9 | NIOSH 6014 |
| NITROMETHANE | 75-52-5 | NIOSH 2527 |
| OIL MIST, MINERAL | 8012-95-1 | NIOSH5026 |
| ORGANIC SCREEN |  |  |
| OZONE | 10028-15-6 | OSHAID-214 |
| PARATHION | 56-38-2 | NIOSH 5600 OSHA 62 |
| PERMETHRIN | 52645-53-1 | OSHA 70 IN HOUSE |
| PHENOL | 108-95-2 | OSHA 32 |
| POLYCHLOROBPHENYLS (PCBs, AROCLORS) | 1336-36-3 | NIOSH 5503 |
| PROPYLENE GLYCOL ETHYL ETHER | 1569-02-4 | NIOSH 1403 |
| PROPYLENE GLYCOL MONOMETHYL ETHER ACETATE | 108-65-6 | OSHA 99 |
| SILICA (CRYSTALLINE, CRISTOBALITE) | 14464-46-1 | NIOSH 7500 |
| SILICA (CRYSTALLINE, QUARTZ) | 14808-60-7 | NIOSH 7500 |
| SODIUM HYDROXIDE | 1310-73-2 | NIOSH7401 |
| STYRENE (MONOMER) | 100-42-5 | NIOSH 1501 OSHA 89 |
| SULFUR DIOXIDE | 7446-09-5 | OSHA 200 |
| TETRACHLOROETHYLENE (Perchloroethylene) | 127-18-4 | NIOSH 1003 OSHA 1001 |
| TETRAHYDROFURAN | 109-99-9 | NIOSH 1609 |
| TOLUENE-2,4-DIISOCYANATE (2,4-TDI) | 584-84-9 | OSHA 42 |
| TOLUENE-2,6-DIISOCYANATE (2,6-TDI) | 91-08-7 | OSHA 42 |
| TRIBROMOMETHANE | 75-25-2 | NIOSH 1003/ OSHA 7 |
| TRICHLOROETHANE, 1,1,2- | 79-00-5 |  |
| TRICHLOROETHANE, 1,1,1- (Methylchloroform) | 71-55-6 | NIOSH 1003 |
| TRICHLOROETHYLENE | 79-01-6 | NIOSH 1022 |
| TRIETHANOLAMINE | 102-71-6 | OSHA PV2060 |
| TRIGLYCIDYL ISOCYANURATE, 1,3,5 | 2451-62-9 | OSHA 2055 |
| TRIMETHYLAMINE | 75-50-3 | OSHA 2060 |
| TRIORTHOCRESYL PHOSPHATE (TOCP) | 78-30-8 | NIOSH 5037 |
| TRIPHENYL PHOSPHATE | 115-86-6 | NIOSH 5038 |
| TUNGSTAN | 7440-33-7 | OSHA ID213 |
| VINYL CHLORIDE (MONOMER) | 75-01-4 | NIOSH 1007 |
| VINYL ACETATE | 108-05-4 | NIOSH 1453 |
| VINYLIDENE CHLORIDE | 75-35-4 | NIOSH 1007 |
| VM & P NAPHTHA | 8032-32-4 | OSHA 48 |